## SoR 1 - Template
Schedule of Rates - CIVILS & ELECTRICAL
Notes
Please use given rates when possible, contractor should include any any additional non-standard items in section 10.00
1 | Excavation, Laying of Ducting, Backfill & Reinstatement | Unit | Rate | Qty | Total | Comments / Clarifications
Trench work to accommodate ducting & cables - Inc. Excavation, Backfill, Reinstatement, Disposal
1.01 | Trench work - Soft Dig / Unmade | m | 0 |  | 0
1.02 | Trench work - Hard Dig / Footway | m | 0 |  | 0
1.03 | Trench work - Hard Dig / Carriageway | m | 0 |  | 0
Supply & Lay Ducting
1.04 | 40mm Perforated Polypipe (or similar) ducting | m | 0 |  | 0
1.05 | 63mm Perforated Polypipe (or similar) ducting | m | 0 |  | 0
1.06 | 100mm Perforated Polypipe (or similar) ducting | m | 0 |  | 0
Extra Over Items
1.07 | Supply and install kerbstone, pre-cast concrete. | m | 0 |  | 0
1.08 | Reinstall kerbstone | m | 0 |  | 0
Supply Only Items
1.09 | Supply only concrete paving slabs | m2 | 0 |  | 0
2 | Supply & Installation of Hardware | Unit | Rate | Qty | Total | Comments / Clarifications
Supply and Install of Charge Points and Feeder Pillars
2.01 | Supply & Install Feeder Pillar; including excavation, backfill, reinstatement, concrete bases etc | Nr | 0 |  | 0
2.02 | Supply & Install Single 7kw Post Mounted Charge Point including posts, bases etc | Nr | 0 |  | 0
2.03 | Supply & Install Single 22kw Post Mounted Charge Point including posts, bases etc | Nr | 0 |  | 0
2.04 | Supply & Install Single 7kw Wall Mounted Charge Point | Nr | 0 |  | 0
2.05 | Supply & Install Single 22kw Wall Mounted Charge Point | Nr | 0 |  | 0
2.06 | Supply & Install Twin 7kw Post Mounted Charge Point including posts, bases etc | Nr | 0 |  | 0
2.07 | Supply & Install Twin 22kw Post Mounted Charge Point including posts, bases etc | Nr | 0 |  | 0
2.08 | Removal of existing equipment and disposal or return to client in clean & serviceable condition including any excavation, reinstatement, making good | Nr | 0 |  | 0
3 | DNO Works | Unit | Rate | Qty | Total | Comments / Clarifications
DNO Connection
3.01 | Admin fee for processing DNO Application | Nr | 0 |  | 0
4 | Supply and Installation of Electrical Items | Unit | Rate | Qty | Total | Comments / Clarifications
Supply & Install Cable
4.01 | 6mm 3 Core SWA Cable | m | 0 |  | 0
4.02 | 10mm 3 Core SWA Cable | m | 0 |  | 0
4.03 | 6mm 5 Core SWA Cable | m | 0 |  | 0
4.04 | 10mm 5 Core SWA Cable | m | 0 |  | 0
4.05 | Telecomm's Cable | m | 0 |  | 0
4.06 | Cable Termination - 6mm 3 Core | m | 0 |  | 0
4.07 | Cable Termination - 10mm 3 Core | m | 0 |  | 0
4.08 | Cable Termination - 6mm 5 Core | m | 0 |  | 0
4.09 | Cable Termination - 10mm 5 Core | m | 0 |  | 0
Supply & Install Cable Trays & Trunking
4.1 | Cable tray, up to 150mm | m | 0 |  | 0
4.11 | Cleats, fixings & ties | m | 0 |  | 0
Supply & Install Distribution Board
4.12 | 1 or 2 way single phase distribution board, including tails | Nr | 0 |  | 0
4.13 | 4 way single phase distribution board, including tails | Nr | 0 |  | 0
4.14 | 6 way single phase distribution board, including tails | Nr | 0 |  | 0
4.15 | 2 way 3 phase distribution board, including tails | Nr | 0 |  | 0
4.16 | 4 way 3 phase distribution board, including tails | Nr | 0 |  | 0
4.17 | 8 way 3 phase distribution board, including tails | Nr | 0 |  | 0
Additional Electrical Items
4.18 | Supply & Install Single phase Type 'A' RCBO | Nr | 0 |  | 0
4.19 | Supply & Install 3 phase Type 'A' RCBO | Nr | 0 |  | 0
4.2 | Supply & Install Single phase Type 'A' RCD | Nr | 0 |  | 0
4.21 | Supply & Install 3 phase Type 'A' RCD | Nr | 0 |  | 0
4.22 | Connection to supply (Internal Fuse Board / Sub-station etc) | Nr | 0 |  | 0
4.23 | Supply & Install Single Phase PEN Consumer Unit - to accommodate 4 units | Nr | #REF! | #REF! | #REF!
4.24 | Supply & Install Single Phase PEN Consumer Unit - to accommodate 6 units | Nr | #REF! | #REF! | #REF!
4.25 | Supply & Install Single Phase PEN Consumer Unit - to accommodate 8 units | Nr | #REF! | #REF! | #REF!
4.26 | Supply & Install Single Phase PEN Consumer Unit - to accommodate 9 units | Nr | #REF! | #REF! | #REF!
4.27 | Supply & Install Three Phase PEN Consumer Unit - to accommodate 4 units | Nr | #REF! | #REF! | #REF!
4.28 | Supply & Install Three Phase PEN Consumer Unit - to accommodate 6 units | Nr | #REF! | #REF! | #REF!
4.29 | Supply & Install Three Phase PEN Consumer Unit - to accommodate 8 units | Nr | #REF! | #REF! | #REF!
4.3 | Supply & Install Three Phase PEN Consumer Unit - to accommodate 9 units | Nr | #REF! | #REF! | #REF!
5 | Signage & Bay Markings | Unit | Rate | Qty | Total | Comments / Clarifications
Signage & Bollard Protection
5.01 | Supply & Install signage (Post & Sign); including any excavation & reinstatement | Nr | 0 |  | 0
5.02 | Supply & Install signage (Wall Mounted Sign); including any excavation & reinstatement | Nr | 0 |  | 0
5.03 | Removal of existing signage; including any excavation, reinstatement, disposal | Nr | 0 |  | 0
5.04 | Supply & Install Bollard; including any excavation & reinstatement | Nr | 0 |  | 0
5.05 | Removal of Bollard; including any excavation, reinstatement, disposal | Nr | 0 |  | 0
5.06 | Supply & Install Wheelstop; including any excavation & reinstatement | Nr | 0 |  | 0
5.07 | Removal of Wheelstop; including any excavation, reinstatement, disposal | Nr | 0 |  | 0
Bay Markings
5.08 | Road markings (lines) | m | 0 |  | 0
5.09 | Bay markings 'ELECTRIC VEHICLE ONLY' or similar | Per Bay | 0 |  | 0
8 | Commissioning / Handover | Unit | Rate | Qty | Total | Comments / Clarifications
8.01 | Commissioning | Nr | 0 |  | 0
8.02 | Certification | Nr | 0 |  | 0
8.03 | Testing | Nr | 0 |  | 0
8.04 | Condition Report | Nr | 0 |  | 0
8.05 | Site Handover | Nr | 0 |  | 0
10 | SUPPLIER TO COMPLETE (ALL NON-STANDARD ITEMS ARE TO BE INCLUDED BELOW) | Unit | Rate | Qty | Total | Comments / Clarifications
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  |  | Total | 0

## SoR - Scenario
Schedule of Rates - CIVILS & ELECTRICAL
Notes
Please use given rates when possible, contractor should include any any additional non-standard items in section 10.00
1 | Excavation, Laying of Ducting, Backfill & Reinstatement | Unit | Rate | Qty | Total | Comments / Clarifications
Trench work to accommodate ducting & cables - Inc. Excavation, Backfill, Reinstatement, Disposal
1.01 | Trench work - Soft Dig / Unmade | m | 0 | 4 | 0
1.02 | Trench work - Hard Dig / Footway | m | 0 | 12 | 0
1.03 | Trench work - Hard Dig / Carriageway | m | 0 |  | 0
Supply & Lay Ducting
1.04 | 40mm Perforated Polypipe (or similar) ducting | m | 0 |  | 0
1.05 | 63mm Perforated Polypipe (or similar) ducting | m | 0 | 16 | 0
1.06 | 100mm Perforated Polypipe (or similar) ducting | m | 0 |  | 0
Extra Over Items
1.07 | Supply and install kerbstone, pre-cast concrete. | m | 0 |  | 0
1.08 | Reinstall kerbstone | m | 0 |  | 0
Supply Only Items
1.09 | Supply only concrete paving slabs | m2 | 0 |  | 0
2 | Supply & Installation of Hardware | Unit | Rate | Qty | Total | Comments / Clarifications
Supply and Install of Charge Points and Feeder Pillars
2.01 | Supply & Install Feeder Pillar; including excavation, backfill, reinstatement, concrete bases etc | Nr | 0 | 1 | 0
2.02 | Supply & Install Single 7kw Post Mounted Charge Point including posts, bases etc | Nr | 0 | 4 | 0
2.03 | Supply & Install Single 22kw Post Mounted Charge Point including posts, bases etc | Nr | 0 |  | 0
2.04 | Supply & Install Single 7kw Wall Mounted Charge Point | Nr | 0 |  | 0
2.05 | Supply & Install Single 22kw Wall Mounted Charge Point | Nr | 0 |  | 0
2.06 | Supply & Install Twin 7kw Post Mounted Charge Point including posts, bases etc | Nr | 0 |  | 0
2.07 | Supply & Install Twin 22kw Post Mounted Charge Point including posts, bases etc | Nr | 0 |  | 0
2.08 | Removal of existing equipment and disposal or return to client in clean & serviceable condition including any excavation, reinstatement, making good | Nr | 0 |  | 0
3 | DNO Works | Unit | Rate | Qty | Total | Comments / Clarifications
DNO Connection
3.01 | Admin fee for processing DNO Application | Nr | 0 | 1 | 0
4 | Supply and Installation of Electrical Items | Unit | Rate | Qty | Total | Comments / Clarifications
Supply & Install Cable
4.01 | 6mm 3 Core SWA Cable | m | 0 |  | 0
4.02 | 10mm 3 Core SWA Cable | m | 0 | 16 | 0
4.03 | 6mm 5 Core SWA Cable | m | 0 |  | 0
4.04 | 10mm 5 Core SWA Cable | m | 0 |  | 0
4.05 | Telecomm's Cable | m | 0 |  | 0
4.06 | Cable Termination - 6mm 3 Core | m | 0 |  | 0
4.07 | Cable Termination - 10mm 3 Core | m | 0 | 8 | 0
4.08 | Cable Termination - 6mm 5 Core | m | 0 |  | 0
4.09 | Cable Termination - 10mm 5 Core | m | 0 |  | 0
Supply & Install Cable Trays & Trunking
4.1 | Cable tray, up to 150mm | m | 0 |  | 0
4.11 | Cleats, fixings & ties | m | 0 |  | 0
Supply & Install Distribution Board
4.12 | 1 or 2 way single phase distribution board, including tails | Nr | 0 |  | 0
4.13 | 4 way single phase distribution board, including tails | Nr | 0 | 1 | 0
4.14 | 6 way single phase distribution board, including tails | Nr | 0 |  | 0
4.15 | 2 way 3 phase distribution board, including tails | Nr | 0 |  | 0
4.16 | 4 way 3 phase distribution board, including tails | Nr | 0 |  | 0
4.17 | 8 way 3 phase distribution board, including tails | Nr | 0 |  | 0
Additional Electrical Items
4.18 | Supply & Install Single phase Type 'A' RCBO | Nr | 0 | 4 | 0
4.19 | Supply & Install 3 phase Type 'A' RCBO | Nr | 0 |  | 0
4.2 | Supply & Install Single phase Type 'A' RCD | Nr | 0 | 1 | 0
4.21 | Supply & Install 3 phase Type 'A' RCD | Nr | 0 |  | 0
4.22 | Connection to supply (Internal Fuse Board / Sub-station etc) | Nr | 0 |  | 0
4.23 | Supply & Install Single Phase PEN Consumer Unit - to accommodate 4 units | Nr | #REF! | #REF! | #REF!
4.24 | Supply & Install Single Phase PEN Consumer Unit - to accommodate 6 units | Nr | #REF! | #REF! | #REF!
4.25 | Supply & Install Single Phase PEN Consumer Unit - to accommodate 8 units | Nr | #REF! | #REF! | #REF!
4.26 | Supply & Install Single Phase PEN Consumer Unit - to accommodate 9 units | Nr | #REF! | #REF! | #REF!
4.27 | Supply & Install Three Phase PEN Consumer Unit - to accommodate 4 units | Nr | #REF! | #REF! | #REF!
4.28 | Supply & Install Three Phase PEN Consumer Unit - to accommodate 6 units | Nr | #REF! | #REF! | #REF!
4.29 | Supply & Install Three Phase PEN Consumer Unit - to accommodate 8 units | Nr | #REF! | #REF! | #REF!
4.3 | Supply & Install Three Phase PEN Consumer Unit - to accommodate 9 units | Nr | #REF! | #REF! | #REF!
5 | Signage & Bay Markings | Unit | Rate | Qty | Total | Comments / Clarifications
Signage & Bollard Protection
5.01 | Supply & Install signage (Post & Sign); including any excavation & reinstatement | Nr | 0 | 1 | 0
5.02 | Supply & Install signage (Wall Mounted Sign); including any excavation & reinstatement | Nr | 0 |  | 0
5.03 | Removal of existing signage; including any excavation, reinstatement, disposal | Nr | 0 |  | 0
5.04 | Supply & Install Bollard; including any excavation & reinstatement | Nr | 0 |  | 0
5.05 | Removal of Bollard; including any excavation, reinstatement, disposal | Nr | 0 |  | 0
5.06 | Supply & Install Wheelstop; including any excavation & reinstatement | Nr | 0 | 4 | 0
5.07 | Removal of Wheelstop; including any excavation, reinstatement, disposal | Nr | 0 |  | 0
Bay Markings
5.08 | Road markings (lines) | m | 0 |  | 0
5.09 | Bay markings 'ELECTRIC VEHICLE ONLY' or similar | Per Bay | 0 | 4 | 0
8 | Commissioning / Handover | Unit | Rate | Qty | Total | Comments / Clarifications
8.01 | Commissioning | Nr | 0 | 4 | 0
8.02 | Certification | Nr | 0 | 4 | 0
8.03 | Testing | Nr | 0 | 4 | 0
8.04 | Condition Report | Nr | 0 |  | 0
8.05 | Site Handover | Nr | 0 | 1 | 0
10 | SUPPLIER TO COMPLETE (ALL NON-STANDARD ITEMS ARE TO BE INCLUDED BELOW) | Unit | Rate | Qty | Total | Comments / Clarifications
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  |  | Total | 0